## Specifications
Automated Chemistry and Immunoassay Analyzers
RFP #31035
MANDATORY SPECIFICATIONS
| Model 1 | Model 2 | Model 3 | Model 4 | Model 5
It is mandatory to state each model name(s) being quoted. Confirm compliance:
1.0 General
1.1 It is mandatory to specify if each model has FDA clearance. Confirm compliance:
1.2 It is mandatory to specify the number of units installed within United States of each model. Confirm compliance:
2.0 Instrument
2.1 Instrument must be capable of continuous random access testing. Confirm compliance:
2.2 Instrument configuration
2.2.1 It is mandatory to present proposed floor instrument configuration in scaled drawing to fit the space available. Confirm compliance: | Complete floor plans
2.2.1.1 It is mandatory to state the HxWxL of instrument. Confirm compliance:
2.2.1.2 It is mandatory to state the weight of instrument. Confirm compliance:
2.2.1.3 It is mandatory to state the space required around instrument. Confirm compliance:
2.2.1.4 It is mandatory to state if instrument is stationary or moveable. Confirm compliance:
2.3 Electrical requirements
2.3.1. Instrument must conform to US standard voltage of 110/220 60 cycle. Confirm compliance and specify the voltage:
2.3.2 It is mandatory to state if system requires dedicated circuit. Confirm compliance:
2.4 Instrument specifications
2.4.1 It is mandatory to specify for the instrument throughput in maximum test per hour for Chemistries and immunology. Confirm compliance:
2.4.2 It is mandatory to state the sample to result time for Comprehensive Metabolic Profile. Confirm compliance:
2.4.3 It is mandatory to state the sample to result time for Cardiac panel (Troponin). Confirm compliance:
2.4.4 It is mandatory to specify the STAT, start time to completion for the "University of Missouri Health Care test menu". Confirm compliance: | Complete on Orderables directory
2.4.5 It is mandatory to state the time for Stat interrupt to place sample on analyzer. Confirm compliance:
2.4.6 It is mandatory for test results to be clinically equivalent across all models. Confirm compliance:
2.4.7 It is mandatory to specify if dedicated water system is required for operation. Confirm compliance:
2.4.7.1 Instrument must be able to run on "jugged" water. Confirm compliance and specify quantity of water required for two hour back up:
2.4.8 Instrument must be capable of having multiple analytes onboard at one time. Confirm compliance and specify number of Chemistry and number of Immunology:
2.4.9 Instrument must be capable of having multiple assays programmed and calibrated at one time. Confirm compliance and specify number of chemistry and number of Immunology:
2.4.10 Instrument must have user definable channels. Confirm compliance and specify how many of each type can be active on system at the same time:
2.4.11. It is mandatory the manufacturer has interfaced with Cerner Millennium Pathnet. Confirm compliance:
2.4.12 Instruments must have bi-directional capability. Confirm compliance:
2.4.13 Instrument must be equipped with a UPS system. Confirm with specifications.
2.4.14 It is mandatory to specify if dedicated water system is required for operation. Confirm compliance:
2.4.15 It is mandatory to specify the decibel level of instrument during operation. Confirm compliance:
2.4.16 It is mandatory to specify number of BTU's per hour. Confirm compliance:
2.4.17 It is mandatory to specify if floor drain is required. Confirm compliance:
2.4.18 It is mandatory to specify minimum sample size by analyte on the test directory provided. Confirm compliance: | Complete on Orderables directory
2.4.19 It is mandatory the instrument must read sample barcodes. Confirm compliance:
2.4.20 It is mandatory the pipette accuracy is checked. Confirm compliance:
2.5 Calibration
2.5.1 It is mandatory the instrument must provide calibration and calibration alert. Confirm compliance:
2.5.2 It is mandatory the instrument must store calibration curves. Confirm compliance:
2.5.3 It is mandatory the instrument must perform QC when reagent lots are changed. Confirm compliance:
2.5.4 It is mandatory the instrument must be able to store QC data. Confirm compliance withh specifications:
3.0 Data Management
3.1 It is mandatory the instrument must be able to retransmit results from the analyzer at the end of an LIS downtime. Confirm compliance:
4.0 Maintenance/Support/Training
Training slots - at Supplier - 2 per site, 4 total
4.1 It is mandatory that training occur for the lead operators for all three (3) shifts on all instruments. Confirm compliance:
5.0 Reagents
5.1 It is mandatory to specify if the "University of Missouri Health Care required tests" on the test directory are FDA cleared. Confirm compliance on test directory: | Complete on Orderables directory
5.2 It is mandatory to specify if the "University of Missouri Health Care required tests" on the test directory are FDA cleared, but not released. Confirm compliance on test directory:
5.3 It is mandatory to specify if the "University of Missouri Health Care required tests" on the test directory are submitted for 510K. Confirm compliance on test directory:
5.4 It is mandatory to specify for any test not supported by the manufacture if you have an installation that has successfully implemented the analyte on your open channel. Confirm compliance on test directory:
5.5 It is mandatory to specify which "University of Missouri Health Care required tests" on the test directory are performed on the following. Confirm compliance on the test directory:
5.5.1 Serum
5.5.2 Urine
5.5.3 CSF and other body fluids
5.6 It is mandatory to specify the CV range for each UMHC required test based on the most recent published CAP survey for your method. Confirm compliance on the test directory.
5.7 It is mandatory to specify lineary range for each specimen type supported. Confirm compliance on the test directory:
5.8 It is mandatory to specify on board reagent stability for Chemistry and Immunoassay. Confirm compliance on the test directory:
5.9 It is mandatory that manufacturer sequester lot numbers for "University of Missouri Health Care required tests" for a period of time. Confirm compliance:
6.0 Pre-Analytic (University Hospital)
6.1 It is mandatory to have sample receipt verification and interface with Cerner PathNet. Confirm compliance:
6.2 It is mandatory for the pre-analytical line to be shown in scale drawing with analytical equipment for University Hospital (in anticipation for future growth). Confirm compliance by completing the floor plan. | Complete floor plan
7.0 Operating Costs
7.1 It is mandatory for manufacturer to compute an annual operating cost estimate based on the testing volumes specified on the MUHC test directory. Provide cost information on proposal form. Confirm compliance:
7.1.1 It is mandatory for cost estimate to include repeat rate. Specify assumed rate:
7.1.2 It is mandatory for cost estimate to include calibration schedule. Specify calibration schedule:
7.1.3 It is mandatory for cost estimate to include controls run. Specify controls run:
7.1.4 It is mandatory for cost estimate to include consumables (i.e. cuvettes, cleanse solutions, etc.). Specify the consumables:
7.1.5 It is mandatory for cost estimate to include estimate for open channel reagents for any analyte not supported by manufacturer. Specify analyte and include cost assumption on proposal form:
7.2 It is mandatory for manufacturer to estimate the additional calibration cost based on the mean time between instrument failures. Provide cost information on proposal form. Confirm compliance:
7.2.1 It is mandatory to state assumptions of percent of failure requiring recalibrations for chemistry and immunosassay. Confirm compliance:
7.2.2 It is mandatory to state assumption of average cost of recalibration, including reagents, controls and calibrators for both chemistry and immunosassay. Provide cost information on proposal form. Confirm compliance:
8.0 IT Requirements
8.1 Application/system must support either the Oracle database environment or Microsoft SQL Server database environment and install Oracle Grid Control monitoring for both Oracle or Microsoft SQL Server. The University of Missouri has a site license for Oracle. Any fees for these products must be omitted. State which environment your application/system supports:
8.2 If the Oracle database environment is used, the following is required:
8.2.1. Oracle version 11g is supported. Confirm Compliance:
8.2.2. Windows 2012/2016, Red Hat Linux is supported. Confirm Compliance:
8.2.3. Non standard ports are supported for network traffic. Confirm Compliance:
8.2.4. The application does not require the use of SYS, SYSTEM, or any other account with DBA privileges. Confirm Compliance:
8.2.5. Avamar is supported for backups. Confirm Compliance:
8.3. If the Microsoft SQL Server database environment is used, the following is required.
8.3.1. SQL Server version 2014 is supported. Confirm Compliance:
8.3.2. Named database instances are supported. Confirm Compliance:
8.3.3. Non-standard ports are supported for network traffic. Confirm Compliance:
8.3.4. The application does not require the use of SA or any other account with system administration privileges. Confirm Compliance:
8.3.5. Other than during installs or upgrades of the database, the application does not require DB Owner privileges. Confirm Compliance:
8.3.6. Avamar is supported for backups. Confirm Compliance:
8.4. Application must have separate database user accounts that are created by UMHS database Administrators. Confirm Compliance:
8.5. Client application must not create database user accounts. UMHS Database Administrators will create user accounts. Confirm Compliance:
8.6. Vendor must provide database documentation. Confirm Compliance:
8.7. Data Feeds must support Health Level 7(HL7) version 2.3 or greater. State specific versions supported:
8.8. Must be able to receive orders from and send results to Cerner PathNet Millennium through a medical device interface (MDI). State specific experience with such an interface to Cerner PathNet Millennium:
Automated Chemistry and Immunoassay Analyzers
DESIRABLE SPECIFICATIONS | Model 1 | Model 2 | Model 3 | Model 4 | Model 5
(The numbers of the desirable specifications correspond with the numbering of the mandatory specifications above, where applicable.)
Model name - Specify models names being proposed.
2.0 Instrument
2.1 Instrument Capabilities
2.1.1 It is desirable for the instrument to accommodate multiple tube sizes. Describe compliance:
2.1.2 It is desirable to incorporate maximum tube handling/hr. Describe compliance:
2.1.3 It is desirable to have the smallest sample dead volume available. Describe compliance:
2.2 Instrument configuration
2.2.1 It is desirable for the proposed floor instrument configuration to utilize the best use of space, least amount of steps for the technicians and have a logical flow of the specimens. Describe compliance: | Complete floor plans
2.3 Environmental requirements
2.3.1 It is desirable for the instrument to operate accurately below 50 degrees F. Describe compliance and explain:
2.3.2 It is desirable for the instrument to operate accurately above 85 degrees F. Describe compliance and explain:
2.4 Instrument specifications
2.4.1 It is desirable the instrument throughput in maximum test per hour for Chemistries and immunology be as high as possible. Scoring will be based on highest to lowest throughput. Describe compliance:
2.4.2 It is desirable the sample to result time for Comprehensive Metabolic Profile be as fast as possible. Scoring will be based on fastest to slowest result time. Describe compliance:
2.4.3 It is desirable the sample to result time for Cardiac panel (Troponin, BNP, and CKMB) be as fast as possible. Scoring will be based on fastest to slowest result time. Describe compliance:
2.4.4 It is desirable the time for Stat interrupt to place sample on analyzer be as fast as possible. Scoring will be based on fastest to slowest. Describe compliance:
2.4.5 It is desirable the instrument run on the least amount of "jugged" water possible. Describe compliance:
2.4.6 It is desirable the instrument be flexible in the capability of having multiple analytes onboard at one time. Describe compliance for chemistry and immunology:
2.4.7 It is desirable the instrument be flexible in the capability of having multiple assays programmed and calibrated at one time. Describe compliance for chemistry and Immunology:
2.4.8 It is desirable the instrument have flexibility for user definable channels and how many of each type can be active on system at the same time. Describe compliance:
2.4.9 Describe if dedicated water system is required for operation and how the system works. Include on the financial form the cost of installation. Describe compliance:
2.4.10 Describe the barcode format and the label format that is acceptable. Describe compliance:
2.4.11 Describe the placement of the sample barcode requirements. Describe compliance:
2.4.12 Describe the safety features and instrument minimal pinch zones. Describe compliance:
2.4.13 Desired for instrument to be capable of pipetting point-in-space. Describe compliance:
2.4.14 Describe the system for instrument cuvette type (if used). Provide the cost to operate it on the financial form. Describe compliance:
2.4.15 It is desirable to have sampling capabilities from pediatric bullet tubes. Describe compliance:
2.4.16 It is desirable the instrument be capable of short sample detection. Describe compliance and specify method:
2.4.17 It is desirable the instrument be capable of clot detection. Describe compliance and specify method:
2.4.18 It is desirable the instrument be capable of hemolysis grading. Describe compliance, specify method and explain how your system relates in mg per dl to quantitative hemoglobin detection systems. Provide cost on financial form.
2.4.19 It is desirable the instrument be capable of turbidity grading. Describe compliance and specify method. Provide cost on financial form.
2.4.20 It is desirable the instrument be capable of diluting the patient sample onboard. Describe process:
2.4.21 It is desirable to specify the number of dedicated stat positions for chemistry and immunology. Describe compliance:
2.4.22 Describe how stat samples are entered into system:
2.4.23 It is desirable the sample carryover in parts per million be the lowest possible. Describe compliance and state the sample carryover:
2.5 Calibration
2.5.1 It is desirable to have the fewest number of calibrations. Describe process and frequency.
2.5.2 It is desirable to store calibration curves for 2 or more lot #'s of same reagent. Describe compliance and number of curves stored:
2.5.2.1 It is desirable to be able to restore a previous calibration curve. Describe compliance:
2.5.3 It is desirable the instrument alert user when QC is out of range. Describe compliance:
2.5.4 Please describe the total volume required including the dead volume for a basic metabolic panel. Describe complaince.
2.5.5 Please describe the process to adjust the analyzer's calibration parameters to make results agree with other methods or instruments. Describe compliance:
2.5.6 Describe the instrument capabilites to have QC materials remain on each instrument refrigerated and capped and programmed to be automatically be tested at a specific time interval. Describe compliance:
2.5.7 It is desirable to have QC results automatically interfaced to the LIS.
2.5.8 It is desirable to have reagent lot numbers bar coded and automatically read and stored. Describe compliance:
2.5.9 It is desirable that the analyzers store two or more calibration curves, for two or more lots of reagent for the same analyte. Describe compliance:
2.5.10 Please describe the process for priorityzing STATS when introduced to the system.
2.5.11 Please describe the number of BMP and CMP tests that can be performed in one hour.
2.5.12 Please describe the time interval from placing a sample into the system until all results for a basic metabolic profile are available for reporting.
2.5.13 Please describe the time interval from placing a sample into the system until the result for troponin is available for reporting.
2.5.14 Please describe the time interval from placing a sample into the system until the result for human chorionic gonadotropin is available for reporting.
2.5.15 Please describe the time interval from placing a sample into the system until the result for Parathyroid hormone (PTH) is available for reporting.
2.5.16 It is desirable for a modular analyzer to have the ability to service and/or replace one module while other modules are in operation. Describe compliance:
2.5.17 Please describe standard options for discharged air and, if available, the ability to vent through a ducting system.
2.5.18 Please describe the number of new assays developed for our proposed analyzers in the last 2 years as well as any currently submitted to the FDA for approval.
2.5.19 It is desirable to have multiple stat test versions. Please describe what you currently have available.
2.5.20 Please descibe the five (5) least stable assays once on board the analyzer.
2.5.21 Please describe the volume of QC required to perform general Chemistry testing and Immunoassay testing.
2.5.22 Please describe the five (5) assays requiring the most frequent calibrations.
2.5.23 Please describe the most common assays you do not provide, but run in labs on your analyzers.
2.5.24 It is desirable for system to have multiple points of entry for specimens. Describe compliance:
3.0 Data Management
3.1 It is desirable the instrument have archiving capability. Describe compliance and capacity:
3.2 It is desirable the instrument have back up capabilities. Describe compliance:
3.3 It is desirable to have real time data analytics, the ability for rules based autoverification and flagging, generate testing statistics and testing volumes and have real time dashboard for instrument performance and operation. Describe compliance:
3.4 It is desirable for the configuration of a central data management station. Describe compliance:
3.5 It is desirable to have remote data management capabilities. Describe compliance:
4.0 Maintenance/Support/Training
4.1 It is desirable to have training for all operators on all shifts. Describe your training process, whether it is on site, what is provided, etc. If cost is involved, please state cost on the financial form.
4.1.1 It is desirable to have additional user training, beyond the initial four (4) such as Super user, advance trouble shooting, periodic and entry level/new user training. Describe compliance:
4.1.2 It is desirable to have access to continuing education regarding your products and services. Please descibe what your company provides.
4.2 It is desirable to have the fewest required times for operator maintenance. Describe compliance and specify required times for the following:
4.2.1 Daily
4.2.2 Weekly
4.2.3 Monthly
4.2.4 Other
4.3 It is desirable to have the longest duration for mean time to failure. Specify mean time to failure in days.
4.4 It is desirable to have the fewest number of preventative maintenance visits required. Specify number of preventative maintenance visits required annually.
4.5 It is desirable to have the longest warranty period possible. Describe warranty period.
4.6 It is desirable to have 24-hour phone technical support. Describe compliance:
4.7 It is desirable to have 24/7 availability for field service. Describe Compliance:
4.8 It is desirable to have the field service dispatch area to be no greater than 150 mi radius of Columbia, MO. Describe compliance:
4.9 It is desirable to have on site go-live support and post go-live on site support.
4.10 It is desirable to have remote instrument management ability. Describe compliance:
4.11 Describe how problem solving is facilitated with the data analytics your system can provide.
4.12 Describe the process for field service trouble shooting and repair.
4.13 Describe the number of unscheduled maintenance procedures can be performed by the system operator.
4.14 Describe the laboratory performed daily/weekly/monthly/other-scheduled maintenance required and the time required to complete each task.
4.15 Describe manufacturer performed preventive maintenance procedures and schedule. Please provide the amount of time the instrument is not available to the laboratory while performing the preventive maintenance procedures.
4.16 Describe the time interval from dispatch of a service engineer and repair supplies until arrival on-site for repair.
4.17 Please describe the geographical location of the nearest two service engineers and the nearest parts warehouse facility.
4.18 Describe the training program provided to customers, both upon initial installation and on an ongoing basis, to include manuals, written procedures, technical assistance, personnel certifications, technical newsletters, etc. Are travel costs including in training?
4.19 Describe the number of training slots allowed and how often they may be renewed due to staff turnover.
4.20 It is desirable that service parts will be stocked on-site. Please describe what will be stocked and at what Hospital/Lab.
4.21 It is desirable to receive on site technical support for assay troubleshooting or implementation of new tests. Describe compliance:
4.22 It is desirable for the supplier to have a web based or list serve system for users to share information. Describe compliance:
4.23 Please describe the average Proficiency testing failure per analyte from all client sites.
4.24 Please define downtime and describe the average downtime to the half day from all sites.
4.25 Please describe average downtime due to service and scheduled maintenance including downtime due to malfunctions/failures.
4.26 It is desirable for the analyzer to still be operational while maintenance and/or QC is perfromed. Describe comliance:
4.27 Please describe the dispatch for service number for all accounts with analyzers less than one year old and, if separate, all accounts with analyzers five (5) years old.
4.28 Please describe the complete system failure problems most encountered.
4.29 It is desirable hat the service technician keep parts on hand. Please describe what is kept on hand and what is special ordered.
4.30 Describe how computer glitches are handled by your IT department.
4.31 Describe how Service assists with assay updates or new formulations and what is actually available to be provided.
4.32 Describe how a malfunction is handled and how it is rectified?
4.33 If the service tech cannot correct the situation, what are the next steps and timeframe for correction?
4.34 Describe you maintenance program regarding light source (halogen lamp).
5.0 Reagents
5.1 - 5.8 Scoring of the responses for all reagent specifications will be based on each response and how it meets MUHC's needs. Please complete responses on the test directory. | Complete on Orderables directory
5.9 It is desirable for manufacturer to sequester lot numbers for "University of Missouri Health Care required tests" for a minimum of one year. Describe compliance:
5.10 It is desirable to minimize waste generation. Describe compliance:
5.11 Please define the pack size configuration for each analyte and the packaging. Describe compliance:
5.12 It is desirable to minimize use of consumables. Describe compliance:
5.13 It is desirable to have multiple containers of the same reagent lot number stored on-board for the same analyte. Describe number of container and compliance:
5.14 It is desirable to have reagents capped while on-board the instrument. Describe compliance:
5.15 It is desirable for the analyzer to monitor reagent consumption, as well as the ability to add partially full reagent. Describe how the analyzer adjusts its knowledge of the available reagent volume.
5.16 It is desirable to have the analyzer respond to empty reagents. Please describe the process.
5.17 It is desirable to load reagents while the analyzer is running. Describe compliance:
5.18 It is desirable to add STAT specimens without disruption of testing. Describe compliance:
5.19 Please describe any chemistry/immunoassays the FDA pulled from your company in the last 10 years and describe what measures were taken to correct things. Describe compliance:
6.0 Future Automation Capabilities (University Hospital)
6.1 It is desirable to have more than two centrifuges on line. Specify capacity and load to unload cycle time:
6.1.1 It is desirable to have the highest amount of input stations (capacity). Describe compliance and state capacity:
6.1.2 It is desirable to have auto by-pass by specimen type or previously centrifuged. Describe compliance:
6.4 It is desirable to have the ability to process multiple tube sizes. Describe compliance:
6.5 Describe STAT interrupt capabilities on pre-analytic line.
6.6 It is desirable to have the fastest time possible from start of pre-analytic line to results for chemistry and immunoassay. Describe compliance and state time for both chemistry and immunoassay.
6.6.1 It is desirable to have the fastest pre-analytic input to result time as possible for Comprehensive Metabolic Profile. Describe compliance and state time:
6.6.2 It is desirable to have the fastest pre-analytic input to result time for Cardiac panel (Troponin, BNP, and CKMB). Describe compliance and state time.
6.7 Describe decapping process:
6.8 Describe if primary tube is routed to analyzer or aliquot prepared.
6.8.1 If aliqoting, describe if clot detection or sample volume is verified on pre-analytical line.
6.9 It is desirable to have aliquot labeling for send outs. Describe compliance:
6.10 Describe recapping method.
6.10.1 It is desirable to have recapping DOT certified for shipping. Describe compliance:
6.11 It is desirable to have the largest on line sample storage (stockyard) size. Describe compliance and state on line sample storage size.
6.11.1 It is desirable to have automated retrieval from stockyard for add-on, repeats. Describe compliance:
7.0 System
7.1 Please provide the number of analyzers in regular service at the present time, both domestically and overseas.
7.2 Does your automated sample management system perform the following: Specimen de-capping, specimine re-capping, Aliquoting and capr piece (not open tubes)? Describe complaince for each:
7.3 Describe your process for samples that can’t be handled by the automation distribution system are loaded to the analyzer (Example: microtainer samples). Describe compliance:
7.4 Please describe your typical cost and process for implementing software/hardware upgrades for each component of the system. Describe compliance:
7.5 Describe the manufacturer warranty. Include what is covered and what is excluded. Describe compliance:
7.6 Describe the number of analyzers (size and type and footprint) required to currently perform our test menu.
7.7 Describe the number of CMPs your system can run per hour. Describe compliance:
8.0 ITS Requirements
8.1. It is desirable that PERL version 5.8 or later may be installed on the database machine. Describe compliance:
8.2. It is desirable that Active Batch agent version 6 or later may be installed on the database machine. Describe compliance:
8.3. It is desirable that the application/system does not require any Microsoft shares on the database instance or the database instance to access shares on another device. Describe compliance:
8.4. It is desirable that Oracle Grid Control can be installed on the machine hosting the database. Describe compliance:
8.5. It is desirable that application code not be required to execute on the database instance server. Describe compliance:
8.6. It is desirable that the application coexist with other applications in the same database instance, and not require its own database instance or dedicated machine. Describe compliance:
8.7. It is desirable that the workstation client application runs on a Citrix. Describe compliance:
8.8 Please describe user controlled functions for report formatting, test parameters such as reference intervals, critical flags, reporting units, measuring interval.
8.9 Please describe how all the middleware parameters are stored as a back-up copy to a separate file storage location. In the event of loss of the parameters from the middleware computer, how are the back-up parameters restored to the computer? Are user defined parameters also included in the back-up and restore process?
8.10 Describe the number of your exisiting on Cerner. Please identify anything your IT team will not let Cerner or another IT team handle (example: rules, auto-verification).
8.11 It is desirable to have the supplier inventory system integrated with Cerner. If the option is not available, describe how it is managed online.
9.0 Other
9.1 Please describe your Lean Principals and how they have been used in instrument design and user operation. Describe compliance:
9.2 Please describe the potential reduction in manual steps comparing our current systems to the proposed. Describe compliance:
9.3 Please provide your portfolio of current vendor relationships, IT, QC, Middleware and Data Analytics.
9.4 Please describe plans for handling interfering substances such as Biotin.
9.5 It is desirable that education be provided to physicians on new testing being implemented that is not on our current menu. Describe complaince:
9.6 Describe and identify assays your company manufactures, but does not have your own QC products for.
9.7 Describe the type of linearity material for assays you provide in order to adhere to CAP standards of checking linearity every 6 months.
9.8 We do not release assays if the interfering substance in the PI goes above your recommended threshold. Describe your ten (10) lowest hemolysis/lipemia/icteric assays and what their levels of interference.
9.9 It is desirable that analyzer throughput is equal to or greater than 900 photometric tests/hour. Describe compliance:
9.10 It is desirable to have a water system allowance included. Describe compliance:

## Proposal Form
Automated Chemistry and Immunoassay Analyzers
COST PROPOSAL FORM
Purchase costs: | University Hospital | Women's & Children's Hospital
Purchase price of equipment at same time:
State warranty period:
Operating Costs:
Provide annual operating cost estimate based on the orderables volume specified on the UMHC test directory, as well as the mandatory specifications listed in section 7.0:
Specify cost assumption for mandatory specification 7.1.5:
Specify additional calibration cost for mandatory specification 7.2:
Specify average cost of recalibration for mandatory specification 7.2.2:
Service/Maintenance Costs after Warranty Period for all analyzers and pre-analytic:
State cost for Monday - Friday day only:
State cost for 7 days/24 hour:
State cost for telephone support 7 days/24hour:
State cost for parts included:
State cost for software upgrades included:
State estimated response time from dispatch to arrive on site:
Training Costs:
Specify any costs related to training for mandatory specification 4.1:
Miscellaneous Items:
State cost of installation for dedicated water system in desirable 2.4.9:
State cost to operate instrument cuvettes in desirable 2.4.14:
State cost for hemolysis grading in desirable 2.4.18:
State cost for turbidity grading in desirable 2.4.19:
State percent increase for annual supply renewal periods:
Year 2:
Year 3:
Year 4:
Year 5:
Year 6:
Year 7:
The decision of which option(s) will be awarded will be made solely by MUHC as determined to be in MUHC’s best interest.
Any and all options will be awarded to a sole vendor.