## Mammo
Yes, Complies
Partially Complies
| TECHNICAL SPECIFICATIONS & PURCHASE CONSIDERATIONS MAMMOGRAPHY INFORMATION SYSTEM | No, Does Not Comply
1 | Workflow and Integration | Not Applicable
1.01 | Universal Viewer provides native access to breast imaging workflows, tools to support screening and diagnostic workflows, and the display of multi-vendor images. | See Comments
1.02 | Breast imaging capabilities provide the radiologist with access to and the ability to read all image types available for the patient on the same workstation.
1.03 | How will loading of historic patient demographics be handled?
1.04 | How can on and off site users access reports and Images? Are reports stored with the images in the PACS? Please describe the clicks and steps an off site user would need to follow to view and exam with its report. How about the EMR?
1.05 | Are worklist views personalized, with shared scope, color-coding of status and real-time updating without the need for refresh, or cycling of the screen?
1.06 | Intuitive work list filtering, sorting, and column control tools, giving each radiologist the ability to tailor the work lists as desired
1.07 | Supports intelligent worklist function including the ability to prioritize the order on the worklist based upon factors such as exam type, ordering physician/service, patient class, next appointment date, and technologist assessment.
1.08 | Are all worklists updated in real-time, at the same time for different clinical users who have a need to see information about the same patients, across different worklists?
1.09 | Mammography specific layouts including priors.
1.1 | Can a user view a listing of prior studies in the worklist views?
1.11 | Is a global worklist possible?
1.12 | Can all users see who is accessing a study from the same shared worklist?
1.13 | How does your system integrate with the mammography reading workstation?
1.14 | How does your system ensure that the report corresponds with the correct patient images are being read on the mammography workstation?
1.15 | Please describe any differences in the radiologist’s workflow at home vs. on site. Describe what information the off site radiologist has access to (e.g. a subset of images and information, all of the images and information).
1.16 | Please describe the following integration capabilities:
1.17 | Magview Mammography reporting.
1.18 | CAD and other AI and screening tools.
1.19 | Other
4 | Administrative and Reporting Functions
4.1 | System capable of automated reports
4.2 | The following reports are supported:
4.2.1 | MQSA
4.2.2 | Performance/ Productivity
4.2.3 | Marketing
4.2.4 | ACR statistical reports
4.2.5 | Standard quality assurance audit logs (e.g., referral, detection, interpretation, and recommendation profiles)
4.2.6 | Identify false/positive results in a yearly, monthly and user-defined period
4.2.7 | Audit trail of patient follow-up actions
4.2.8 | Patient Activity
4.2.9 | Order Activity by referring physician
4.2.10 | Status reports available
4.3 | Describe other management reports available
4.4 | Describe data error identification and means of repairing
4.5 | Fully accessed from graphic-user interface
4.6 | Management reports can be easily exported to Excel or other reporting system
4.7 | Option is available to view management reports on screen, not just print them
4.8 | Provides ability to do multiple, simultaneous queries of system data
4.9 | Describe available audit trails
4.1 | Retrieval records can be viewed on administration pages
4.11 | Describe other available audit trails
2 | Diagnostic Workstation
2.01 | Vendor supports existing diagnostic reading station hardware
2.02 | Seamless integration with Hologic Mammography Information System
2.03 | Multi-modality image review, display, and archive
2.04 | Supports mammography, FFDM, Breast MRI, US, BSGI, and CAD
2.05 | Supports quantification, volume, and density software
2.06 | Tomosynthesis
2.07 | Password controlled, individual hanging protocols included
2.08 | Real-time worklist update.
2.09 | MIP and MPR functions included
2.1 | Server based software upgrades
2.11 | Personal and public folders will be included
2.12 | Passwords can be timed to expire
2.13 | Automatic user time-out
2.14 | PC CD burning, DICOM images with viewing software
2.15 | Stat exams are automatically added to beginning of radiologist and resident worklists simultaneously.
2.16 | Password defined limitations on desktop options
2.17 | "Anonymized" images can be produced automatically
2.18 | "Save As" available from PACS to desktop, limits formats supported including TIFF, JPEG, DICOM, AVI
2.19 | DICOM header information can be accessed from viewer
2.2 | Provides the following tools
2.20.1 | Scroll
2.20.2 | Stack
2.20.3 | Pan
2.20.4 | Zoom
2.20.5 | Invert
2.20.6 | Magnify
2.20.7 | Annotate (saves annotations)
2.20.8 | Angle Measurements
2.20.9 | Cobb Angle measurements
2.20.10 | Length Measurements
2.20.11 | Measurements and statistics
2.20.12 | Auto-cropping and scaling
2.20.13 | Compare Studies
2.20.14 | Cine
2.20.15 | Orientation change
2.20.16 | User defined window/level
2.20.17 | Enhancement
2.20.18 | Chest wall to chest wall alignment
2.20.19 | Customizable step protocols
2.20.18 | One click access from an icon on the PACS viewer will access patient reports in RIS
2.20.19 | Presentation states can be saved by privileged users
2.20.20 | Collaboration mode
2.20.21 | Digital ultrasound clips can be viewed on the PACS viewer
2.20.22 | Digital ultrasound clips can be saved onto a PC desktop in a non-DICOM format (AVI, MPEG)
2.20.23 | Draft, as well as, finalized reports can be displayed with images. Status change from draft to finalized will be supported by the PACS.
3 | Breast Density Software
3.3.2 | System Capabilities
3.3.2.1 | Volumetric breast density measurements
3.3.2.2 | ACR breast density category
3.3.2.3 | Clinical scoring/ benchmarking
3.3.2.4 | Describe algorithms utilized
3.3.2.5 | Processing time
3.3.3 | Visualization
3.3.3.1 | Customizable image display
3.3.3.2 | Maximum intensity projections
3.3.3.3 | Multiplanar reformatting
3.3.3.4 | 3-D volume renderings
3.3.3.5 | Subtraction
3.3.3.6 | Multimodality display
3.3.4 | Reporting
3.3.4.1 | Automatic report generation
3.3.4.2 | ACR BIRADS
3.3.4.3 | Quantitative reporting
3.3.4.4 | Volume of Fibroglandular Tissue
3.3.4.5 | Volume of breast
3.3.4.6 | Volumetric breast density
3.3.4.7 | Pressure/ force applied
3.3.4.8 | Radiation dose
3.3.4.9 | Density grade or scoring
3.3.4.10 | Please describe this scoring method and volumetric thresholds
3.3.4.11 | Other features or metrics
3.3.4.12 | Please describe how density scores may vary between conventional mammography or tomosynthesis
3.3.5 | Supported Imaging Technologies
3.3.5.1 | DICOM SOP classes
3.3.5.2 | MR/Enhanced MR
3.3.5.3 | Mammography
3.3.5.4 | Digital Breast Tomosynthesis
3.3.5.5 | FFDM
3.3.5.6 | 2D CC
3.3.5.7 | 3D MLO
3.3.5.8 | Synthetic 2D (C-View, V-Preview)
3.3.5.9 | Other
3.3.5.10 | Please list supported digital mammography vendors
3.3.5.11 | Ultrasound
3.3.5.12 | Other
7 | Archiving
7.1 | Does the system provide a mechanism to load balance the requests for images to display without performance degradation?
7.2 | What protocol/transport does the application or hardware operate on (e.g. TCP/IP, UDP, IPX, NetBIOS)
7.3 | What storage media does the system use for near and long term storage?
7.4 | System shall provide redundant local storage of images for a period of permanently
7.5 | System shall provide redundant storage of images at a remote location with no time limit
7.6 | The system shall not store any image in the on-line storage system with non-reversible compression
7.7 | The storage system shall include DICOM Storage SCP
7.8 | The storage system shall include a DICOM Query/Retrieve SCP
7.9 | The system shall only use loss-less compression for all images. If not, please describe.
7.1 | The storage system shall monitor usage and provide real-time display of usage patterns and statistics
7.11 | The storage system shall tolerate the failure of a single disk drive without loss of data
7.12 | The storage system shall remain operational in the event of the failure of a single disk drive
7.13 | The storage system shall remain operational during the service required to correct a failed disk drive
7.14 | The storage system shall provide means for notifying the system administrator and the vendor in the event of any failure in the storage system
7.15 | It shall be possible to export images to a variety of removable media in a variety of formats (e.g., TIFF, GIFF, DICOM, JPEG, other)
7.16 | The archive should be capable of backing up all the data in the archive including database, configuration files and image data. This means that it should be possible to recover the archived data from a set of media kept offsite in case of a catastrophic event
8 | Maintenance
8.1 | High Availability. Please explain your company’s approach to creating system fault tolerance and high availability
8.2 | How do you optimize the balance between redundancy and economy?
8.3 | Can incremental nightly backups automatically occur without interfering with system processes?
8.4 | Please detail the security schema for PACS
8.5 | Describe the average number of annual (major) software upgrades and updates? Please explain the process and how the local customer is involved
8.6 | Do you have any experience in implementing upgrades/updates remotely or do you always require an on-site presence for these?
9 | Warranty and Service
9.1 | Annual support contract options. We recognize a substantial portion of our lifecycle PACS investment will be in annual support contracts and desire to evaluate not only the initial cost, but the cost to support the system throughout its lifecycle.
9.2 | Please describe your approach to software obsolescence protection.
9.3 | Upgrade path. What upgrades are included with the annual support contract vs. upgrades that will need to be paid for. How often are these costly upgrades distributed?
9.4 | Standard service response time for weekdays, weekends and after hours service. (24-hour service coverage must be available)
9.5 | How difficult and costly is it to scale the PACS to an additional remote site? Describe the process and likely mix of hardware/software to accommodate the task?
9.6 | What system documentation is included with the system. How would your customers self-rate your documentation? Is it detailed enough to support new users of the system through everyday tasks?