**ADDENDUM I**

**DATED: March 26, 2024**

**For**

**Request for Qualification to Pre-Qualify**

**General Contactors for KC656503**

**School of Medicine Steam Line**

**For the University of Missouri – UMKC**

**The following question was received, and clarifications/answer provided below:**

1. **Is it possible to get a sketch or a little more detail about the above referenced project?**

Answer:

Project SOW to include the installation of a new steam service line to serve SOM with steam service from the adjacent Health Science Building (HSB).

* + New 300’ L 4’ Wx3’3” H steam chase between the School of Medicine Building and the Health Science Building
  + New 12” steam, 4” condensate piping at HSB with interface to existing steam header and surge tank
  + New 10” steam and 4” condensate piping at SOM with interface to existing 10” steam line in SOM loading bay.

A diagram of a triangular structure

Description automatically generated

A blueprint of a building

Description automatically generated

1. **Confirm the cover page does not count against the page limit.**

Answer: The cover page does not count against the page limit

End of Addendum I